## Slide 1
Wind Turbine Workshop V3 Power

## Slide 2
Electrical system

## Slide 3
Alternators

## Slide 4
Alternators

## Slide 11
Alternators

## Slide 12
Braking the Turbine
Two options – AC or DC
Ensure they are rated for current @ AC/DC

## Slide 13
Alternators

## Slide 14
Charge Controller – Buy or Build?
Or you can buy one
A charge controller with a dump load is an essential part of the system
You can build your own

## Slide 15
Alternators

## Slide 16
Alternators

## Slide 17
Alternators

## Slide 18
DC Loads
DC loads are run directly from the battery.

## Slide 19
Alternators

## Slide 20
Inverter
To run “mains” appliances you need an inverter

## Slide 21
Alternators

## Slide 22
Fuses

## Slide 23
Alternators

## Slide 24
Siting, Towers and Case Studies V3 Power

## Slide 25
Contents
1. Siting a Wind turbine
2. Towers
3. Wendsor Farm
4. Case Studies
3. Wind Empowerment
4. Useful Links

## Slide 27
Annual Mean Wind Speed
Notes: Spot measurements are of little use.
For meaningful data, need to monitor for at least 6 months.
Way it works, has like a tape measure inside which spins out as anemometer turns. At end of year, measure how much tape has been reeled out and divide by time in year to get average wind speed.
The first anemometers did not give an instantaneous reading of wind speed instead they measured the wind run in kilometres or miles. The advantage of this over an instantaneous reading is that it averages out the speed over a period of time. It is this average that we are most interested in.Wind speeds vary very rapidly on a second by second basis. One disadvantage of this type of anemometer is that it does not respond well to rapid variations in wind speed due to its relatively high mass.

## Slide 28
Wind over Ridges and Hills
Notes: Note also that the turbulence begins before the house.

## Slide 29
Area of turbulence
Notes: Note also that the turbulence begins before the house.

## Slide 30
Height above Ground Level | Annual Wind Speed
10m | 4.8m/s
25m | 5.5m/s
45m | 6.1m/s
http://www.rensmart.com/Weather/BERR
Wendsor Farm
Notes: Note also that the turbulence begins before the house.

## Slide 32
Tower Designs
Guyed Tower
45
45

## Slide 36
Turbine Maintenance

## Slide 37
Shackle
Shackle
Wire Rope
Cable Clamp
Thimble
Turnbuckle

## Slide 38
Anchors

## Slide 39
Free standing

## Slide 40
Lattice Tower

## Slide 41
52m Lattice Tower with Crane (USA)

## Slide 42
Wagonplatz, Germany
Off Grid Domestic Power System
- 1.8m Turbine
- 12V Battery System
- 300W Inverter
- Variety of Small PV
- Central battery
storage in kitchen
- Smaller systems in
each wagon fed by PV
- Lighting, Laptops

## Slide 43
Wind Empowerment
Information sharing
Research – Technical and Social
International association of Hugh Piggott Wind Turbine Builders

## Slide 44
Wind Empowerment - Research
Technical and Social:
- Rotor and alternator efficiency
- Levelised Cost of Energy
- Social Integration of Turbines

## Slide 45
Links
Fieldlines – discussion forums
Www.fieldlines.com
The Back Shed
Www.thebackshed.com
Hugh Piggott's Website
Www.scoraigwind.co.uk
Wind Empowerment
Www.windempowerment.com
V3 Power
Www.v3power.co.uk